## Slide 1
PhotonHub Demo Centre
Course 01
Optical Fibre Sensing Applications
Course Provider
Brussels Photonics,
Vrije Universiteit Brussel,
Belgium
European Photonics Innovation Academy

## Slide 2
Course Overview
European Photonics Innovation Academy
Optical fibre sensors (OFS) are part of the field of optical metrology, which is the science and technology of performing measurements with light. An optical fibre sensor encodes a measurand of interest (the perturbation that you want to measure) in one (or more) properties of an optical signal that is guided through an optical fibre.
This one-day hands-on training course provides industry, especially those addressing a sensorization need, with a detailed overview of important point and distributed OFS sensing techniques and how they are applied in engineering environments.
The course will focus on three hands-on sessions; 1) Fabrication and Characterization of fibre Bragg gratings (FBGs); 2) Measurement campaign with FBGs and optical frequency domain reflectometry (OFDR); 3) Processing of raw data into engineering values & Interpretation; Course attendees will learn how OFS are fabricated, installed and interrogated and what measurements they deliver.

## Slide 3
Target Audience
Expected Outcomes
It is desirable but not essential that course attendees have a basic understanding of photonics. The course is ideally suited to those planning to implement optical fibre sensors.
Understanding of operation principles of optical fibre sensors
See the fabrication process to produce fibre Bragg gratings (hands-on activity)
Perform measurements on an asset instrumented with optical fibre sensors (hands-on activity)
Understand, process and interpret the raw sensor data (hands-on activity)
European Photonics Innovation Academy

## Slide 4
Course Schedule
European Photonics Innovation Academy
Time | Demo Activity
09:00 – 10:30 | VUB B-PHOT Orientation, Course Introduction & Tutorial
11:00 – 12:30 | Demo 1: Fabrication and Connectorisation of a FBG-based sensor chain (hands-on)
13:30 – 15:00 | Demo 2: Measurement campaign with FBGs and OFDR (hands-on)
15:30 – 17:00 | Demo 3: Processing of raw data into engineering values & Interpretation (hands-on)
17:00 – 17:30 | Follow-Up Questions & Close

## Slide 5
Course Trainers
European Photonics Innovation Academy
Course Director: Prof. Hugo Thienpont
Demo 1: Dr. Sidney Goossens, Prof. Tigran Baghdasaryan
Demo 2: Dr. Sidney Goossens, Dr. Sergei Mikhailov
Data processing: Dr. Sidney Goossens, Dr. Sergei Mikhailov

## Slide 6
Course hands-on sessions
European Photonics Innovation Academy
Fabrication and connectorization of fibre Bragg grating sensor chains
Processing of raw data into engineering values & Interpretation
Measurement campaign with FBGs and OFDR

## Slide 7
Industrial application sectors of FOS
European Photonics Innovation Academy
Bridges
Wind turbines
Composite materials
Railways
Smart energy grids
Smart mechatronics
Smart catheters

## Slide 8
Course Location, Schedule & Cost
Further Information
Course Schedule (13 November, 28 November)
Number of people (Groups of 3/6 people per course)
https://www.b-phot.org/contact
European Photonics Innovation Academy
VUB Photonics Campus Gooik, Belgium

## Slide 9
European Photonics Innovation Academy
Course Material (technical hand-outs)
PhotonHub Demo Centre
Course 01
Optical Fibre Sensing Applications
Course provider
Brussels Photonics,
Vrije Universiteit Brussel,
Belgium
Training Course notes

## Slide 10
Keywords
European Photonics Innovation Academy
Optical measurement, Sensor, Optical Fibre, Manufacturing, Pilot Line, Equipment, Automation, Optical fibre sensing, strain and temperature sensing, structural health monitoring, Fibre Bragg grating, Distributed sensing, Data interpretation and reporting
Relevant Technology & Application Domain
Technology: Glass and Polymer Specialty Fibres and Fibre Devices
Application: Relevant to all application domains